## Tabelle1
UrbanBiogas: Good Practice Database for Biogas and Biomethane Plants
City / Country | commissioning | investment | contractor | mass flow | major feedstock | digester volume | digester type | biogas production | biogas quality | process energy | costs | digestate use | commissioning | investment | manufacturer | technology | biomethane capacity | CH4 quality | losses | utilisation | costs
| year | [k€] |  | [to/a] |  | [m³] |  | [m³N/h] | [vol.-% CH4] | [kWh/m³NCH4] | [€/kWh] |  | year | [k€] |  |  | [m³N/h] | [vol.-% CH4] | [%] |  | [€/kWh]
Lille / France | 2007 | 75000 | Linde | 108000 | MSW, green waste | 6200 | horizontal cuboid | 1200 | 60 | 0.21 | n.a. | compost | 2006 | 1480 | Greenlane Biogas | water scrubber | 1200 | 98 | 1 | transport fuel | n.a.
Madrid / Spain | 2008 | 79000 | Gocsa | 369000 | MSW | 21200 | vertical cylinder | 4000 | 60 | 0.19 | n.a. | compost | 2008 | 3200 | Greenlane Biogas | water scrubber | 4000 | 98 | 0.9 | grid injection | n.a.
Västerås / Sweden | 2005 | 6000 | Rosroca | 20550 | MSW, gras silage, grease | 4000 | vertical cylinder | 280 | 63 | 0.35 | n.a. | fertiliser | 2005 | n.a. | Malmberg | water scrubber | 700 | 95 | 2 | transport fuel | n.a.
Hendriksdal / Sweden | 1969 | n.a. | n.a. | 790000 | sewage sludge, food waste | 38400 | vertical cylinder | 1400 | 63 | 2.4 | 0.03 | soil improver | 2003 | n.a. | Malmberg | water scrubber | 1400 | 97 | n.a. | transport fuel | n.a.
Linköping / Sweden | 1996 |  | n.a. | 53800 | slaughter waste, others | 7400 | vertical cylinder | 400 | 65 | 2.2 | 0.025 | fertiliser | 1997 | n.a. | several | several | 2120 | 97 | n.a. | transport fuel | n.a.
Inwil / Switzerland | 2008 | 19000 | Kompogas | 60000 | manure, food waste | 4550 | flat cylinder | 500 | 57 | n.a. | n.a. | fertiliser | 2008 | n.a. | CarboTech | PSA | 225 | 98 | n.a. | grid injection | n.a.
Bern / Switzerland | 2004 | 1500 | n.a. | 247000 | sewage sludge, others | 18000 | vertical cylinder | 835 | 66 | 2 | 0.03 | incineration | 2008 | 1500 | CarboTech | PSA | 300 | 96 | 3 | transport fuel | 0.03
Rostock / Germany | 2010 | n.a. | Kompogas | 40000 | MSW, food waste | 3600 | horizontal cylinder | 1000 | 55 | n.a. | n.a. |  | 2011 | n.a. | Cirmac | water scrubber | 350 | 98 | n.a. | grid injection | n.a.
Altenstadt / Germany | 2001 | 4000 | Hochreiter | 40000 | food waste | 7800 | n.a. | 1200 | 67 | n.a. | 0.03 | incineration, fertiliser | 2009 | n.a. | Rosroca | water scrubber | 690 | 98 | n.a. | grid injection, fuel | 0.027
Werlte / Germany | 2002 | 7000 | Hese | 110000 | manure, slaughter waste | 6400 | vertical cylinder | 1000 | 66 | n.a. | n.a. | fertiliser | 2007 | 1000 | CarboTech | PSA | 500 | 94 | n.a. | grid injection | n.a.
Bruck a.d.L. / Austria | 2004 | 6500 | n.a. | 30000 | organic residues | 19000 | vertical cylinder | 730 | 63 | n.a. | n.a. | fertiliser | 2007 | n.a. | axiom | membrane | 180 | 98 | 0 | grid injection | n.a.
Prepared by Fraunhofer IWES (Germany) and the UrbanBiogas Consortium, 2012